Biosafety Level 2 (BSL-2)

Manual

George Washington University

Lab Name: ___________________

Written (Date):  _______________

Last Revision (Date):  ____________

Reviewed by BSO (Date):  ____________

Note:

This is a general template for laboratory safety procedures. The principal investigator is responsible for including laboratory and protocol specific procedures for addressing hazards in their laboratory.

Training Record

I have read, understand, and agree to adhere to the biosafety procedures contained within this manual:

| Printed Name | Role | Signature | Date |
| --- | --- | --- | --- |

Table of Contents

Update TOC when done.

Principal Investigator Responsibilities

Laboratory Staff/Student Responsibilities

General Emergency Information

Emergency Contacts

Fire Alarms/Extinguishers

Eyewashes

Spills in the Laboratory

Biological Spill

Spills Outside the Biosafety Cabinet

Spills Inside the Biosafety Cabinet

Spills Inside Equipment

Chemical Spill

Radiation Spill

Exposures in the Laboratory

Biological Exposure

Chemical Exposure

Radiation Exposure

BSL-2 Safety Procedures

Training

Medical Surveillance

PPE

Biohazard Warning Signs and Posting

Biological Safety Cabinets (BSC’s)

Biological Waste Disposal

Chemical Safety

Fume Hood Use

Housekeeping

Laboratory Close Outs/Equipment Disposal

Security

Select Agents/Toxins

Sharps

Shipping Biological Material……………………………………….……………	13

Transporting Biological Material……………………………………….………..	13

Useful Web Sites……………………………………….………………………...	14

Appendix A……………………………………….…………..………………….	15

Appendix B……………………………………….………………………………	15

Appendix C……………………………………….………………………………	15

Appendix D……………………………………………………………………….	15

Principal Investigator Responsibilities

The Principal Investigator (PI) has the primary responsibility for ensuring that their laboratory is safe.  They must adhere to all guidelines and regulations.  They are responsible for the safe use of biological, chemical and radioactive materials in their laboratory.

In addition, the PI must:

Limit personnel, student, and visitor exposure to hazards to the lowest practical level.

Apply the recommended biosafety level for the work being conducted

Be familiar with the required medical surveillance for each type of agent in their laboratory and ensure staff/students/visitors have medical clearance

Develop written lab specific safety procedures and train their personnel on them

Maintain documentation of training

Provide PPE and instruction on use

Ensure waste is properly disposed

Report spills, exposures or incidents to Environmental Health & Safety (EHS)

Conduct periodic drills of emergency procedures

Laboratory Staff/Student Responsibilities

Know the biological materials and procedures used in the laboratory

Follow approved lab procedures and safety guidelines

Know emergency procedures

Complete all required training before conducting any lab activity

Report any unsafe conditions to the PI, EHS or the RRT

Utilize all required Personal Protective Equipment (PPE)

Use appropriate lab equipment and containment facilities

General Emergency Information

Emergency Contacts

Office/Lab			     Cell (After Hours)

PI

Lab Supervisor

Other

GWPD				 202-994-6111 or 911

Office of Laboratory Safety (OLS)	 202-994-8258

Health and Safety (H&S)   		 202-994-4347

If there is an emergency, call 202-994-6111 or 911 from a University phone to reach UMPD. If there is a fire or explosion that you cannot control, evacuate the area immediately.  Pull the fire alarm and then call 911 from a safe location.

If any emergency or significant spill/exposure occurs in the laboratory, immediately notify OLS H&S and your lab supervisor/PI.

Fire Alarms/Extinguishers

Locations of fire pull station alarms:

Location of fire extinguishers:

Know the location of each of these, and identify the location of the extinguisher closest to your lab bench.  If the fire alarm sounds, leave the building immediately and move away to a safe distance.

Eyewashes

Location of eyewashes:

In case of exposure, proceed to nearest eyewash station.  Hold eyelids open with thumb and forefinger and rinse for at least 15 minutes.  Wash from the outside edges towards the inside to prevent washing chemicals back into the eye.

Rinse should be aimed at the inner corner of the eye (near the nose) not directly at the eyeball. “Roll” eyes around and up and down to ensure full rinsing.

Contact lenses (if worn) should be removed as soon as possible. Have another member of the lab call for emergency response immediately. The area around the eye wash station must remain clear at all times.

Spills in the Laboratory

If a significant chemical or biological spill or release occurs in your immediate area, contact UPD at 202-994-6111 for the Foggy Bottom and Virginia Campuses and 202-242-6111 at Mount Vernon Campus.

A significant spill is defined as:

- Spills greater than 1L (BSL-2, toxic chemicals) outside primary containment

- Spills that result in an exposure

- Spills that present an inhalation hazard

- Spills that cannot be easily cleaned

- Spills that endanger people or the environment

Chemical Spills

Since chemical spills may be potentially dangerous, University personnel should not attempt to handle any chemical spill unless they are properly trained in handling chemical spills.

If you spill a hazardous material and need assistance, call H&S.

Biological Spills

Notify your laboratory supervisor/PI and nearby lab staff.  Use appropriate PPE when cleaning.  Dispose of all cleanup material as biohazardous waste.

Spills Outside the Biosafety Cabinet

Decontaminate biological spill by covering the spill with paper towels and soaking in a freshly prepared 10% bleach solution or disinfectant for at least 20 minutes.

Clean area at least 2 feet around spill with disinfectant. (Including furniture/walls)

Spills Inside the Biosafety Cabinet

Decontaminate any biological spill by covering the spill with paper towels and soaking a freshly prepared 10% bleach solution for at least 20 minutes.

While spill is soaking, wipe down all work surfaces and equipment in BSC with disinfectant.  Place all cleanup material into biohazardous waste container.

Spills Inside Equipment

If the spill occurs in a shaker or centrifuge, turn off the equipment and leave the door closed for at least 30 minutes to reduce aerosol exposure before cleaning up the spill.

Tape a sign indicating the problem and your name to the contaminated equipment until the situation has been rectified.

Radiation Spills

Wipe up the spill with Scrubbing Bubbles or a similar cleanser and check for residual contamination by performing a wipe test (tritium or carbon-14) of the affected area.  Monitor with a portable Geiger counter capable of detecting the energy signature of the radioisotope.

For other radioisotopes, refer to the OLS Radiation Safety for proper detection methods.

Call OLS if you need assistance.

Exposures in the Laboratory

All exposures must be reported to the PI and to OLS.

Biological Exposure

Remove any contaminated clothing/jewelry and wash skin exposed to the agent with a disinfectant such as antibacterial soap.

Autoclave any contaminated clothing before disposal. Decontaminate any surfaces using the procedure for a biohazardous spill.

If you believe you may have been exposed to an agent, seek immediate medical attention.

If you suspect you have a lab-acquired illness regardless of a recent exposure, see a health care professional immediately.

Fill out a worker’s compensation form even if you are not sure if your illness was acquired at work.  This must be done if you need to file a claim later.

Chemical Exposure

For most chemical exposures to the skin, wash the chemical off with water for at least 15 minutes and remove any contaminated clothing.  Use the sink for small exposures; for large exposures use the safety shower.

Location of safety shower:

Radiation Exposure

For skin contamination with radioactivity, wash it off and remove any contaminated clothing.

If you believe you have inhaled or ingested any radioactivity, call OLS: 202-994-8258. Do not leave the laboratory until Radiation Safety has assessed you.

BSL-2 Safety Procedures

This lab is rated as Biological Safety Level 2.  BSL-2 is required for work involving agents of moderate potential risk to personnel and the environment.

Eating, drinking and smoking are prohibited in BSL-2 laboratories.  For additional requirements consult the GW Biosafety and Exposure Manual and the Biosafety in Microbiological and Biomedical Laboratories (5th ed.) guidelines.

Types of Biohazards or Potentially Infectious Materials:

  - Human, animal and plant pathogens:

    - Bacteria, including those with drug resistance plasmids

    - Rickettsiae

    - Fungi

    - Viruses, including oncogenic viruses and viroids

    - Parasites

    - Prions

  - All human and/or non-human primate blood, blood products, tissues and certain body fluids.

  - Cultured cells (all human and certain animal species) and potentially infectious agents these cells may contain.

  - Biological toxins (bacterial, fungal, botanical, etc.)

  - Certain recombinant products

  - Infected animals and animal tissues

Biohazardous Materials:  Provide a description of material used in the laboratory in Appendix A.  Include symptoms/hazards/medical surveillance for working with the material.

Potentially Hazardous Equipment: Provide a description of potentially hazardous equipment used in the laboratory in Appendix B.  Examples include sonicators, blenders, lypholizers, Bunsen burners, etc…

Special Practices: Provide a description of potentially hazardous procedures conducted in the laboratory in Appendix C.  Examples include culture extraction, centrifugation, use of sharps, etc…

Material Registration and Inventory

The IBC is responsible for reviewing projects that involve, but are not limited to, recombinant DNA, RNAi, Dual Use Research (DURC), genetically modified microorganisms, plants and animals, artificial gene transfer, pathogens, biologically derived toxins and human materials.

IBC Registration Forms can be found here: https://labsafety.gwu.edu/institutional-biosafety-committee.

Training

Laboratory personnel should be aware of the potential hazards associated with the work and be proficient in the specified practices and procedures.

All GW laboratory research personnel must take the following mandatory training:

- The Biosafety/Bloodborne Safety training is required annually and is provided by OLS.

- Laboratory Safety training is required annually and is a provided by H&S.

- Laboratory Specific training provided by the PI.

Medical Surveillance

List all medical requirements: (immunization, baseline serum, periodic surveillance, exposure response)

Anyone who is pregnant, has a medical condition, or who is taking medication that increases the risk of acquiring laboratory infections should inform the PI and should consult with their physician.

All medical surveillance must be documented.

PPE

List all PPE to be used in the lab: (gloves, lab coats, gowns, booties, eyewear, face protection, respirators)

A lab coat, safety glasses and gloves are the minimum requirement for PPE in a BSL-2 laboratory.

OLS recommends that non-latex gloves be used.

Biohazard Warning Signs and Posting

Each laboratory must clearly display a sign that provides safety information to visitors and service personnel. EHS notes this on the lab door card.

- All areas and laboratories which contain biohazardous agents must be posted with a biohazard sticker. The sticker must be red/orange in color with a biohazard symbol and lettering in black.

- If BSL-2+ work is being conducted, a sign must have information regarding biosafety level, materials used, entry requirements, exit requirements, emergency contact name and phone number.

Biological Safety Cabinets (BSC’s)

There is no requirement for directional inward airflow in a BSL-2 laboratory, except as may be required for chemical odor control.

BSC’s should be positioned in the laboratory away from normal traffic patterns to minimize airflow disruption.

Some work may be done on the open bench by persons wearing appropriate protective clothing or gear. Any work that may produce splatters or aerosols of infectious materials should be done inside a biological safety cabinet (BSC) or other containment device.

Before materials are introduced into the BSC, they should be wiped with disinfectant to remove any external contaminants.

Clean materials should be kept to one side of the work surface, dirty items on the other. Management of workflow within the BSC is crucial to preventing cross-contamination.

Rapid air movement outside the cabinet (caused by co-workers walking past, air supply vents directed across the face of the BSC, etc.) will interrupt the rather fragile air curtain, which may cause air-borne contaminants in the cabinet to be drawn into the lap of the worker.

The chair should be adjusted so that the lower portion of the sash is even with the worker’s armpits.

Any paper or plastic materials introduced into the BSC should not be allowed to interfere with air flow through the front or rear grilles.

The downward airflow from the supply filter "splits" about one third of the way into the cabinet; in the front third, air moves to the front grille, with the remainder of the air flowing to the rear. This means that aerosol-generating activities should be performed towards the rear of the cabinet to provide further worker protection.

Gas is not allowed to be piped to biosafety cabinets for fire safety.

Biological Waste Disposal

All recombinant material is considered infectious and must be disposed as biological waste.

Liquid infectious waste materials should be chemically disinfected with 10% bleach or by an EPA approved detergent disinfectant or, decontaminated in a steam autoclave. Solid, non-sharp infectious waste should be placed in a biohazard box if being picked up by EHS.

If autoclaving waste, loosely tie the bag closed or use a rubber band, place in an autoclave pan, and autoclave for at least 60 minutes at 121°C under 15 psi.

Autoclaves need to be verified with spore tests. The frequency is determined by the type of waste produced.  For information, contact EHS.

Chemical and Radioactive Materials

Label all containers with a minimum of the contents, date, and your initials.

Waste materials need to be segregated into chemical, radioactive, bio-hazardous, or regular waste. Do not mix waste.

For chemical and biohazardous waste pick-up contact H&S. For radioactive waste pick-up contact OLS.

Fume Hood Use

Use organic and volatile compounds in the fume hood.  Discard organic waste (phenol, chloroform) into appropriate waste bottles in the fume hood.  Keep waste tags attached to waste containers and identify the contents.  Submit the Hazardous Waste Request to EHS for waste pick-up.

Housekeeping

Special practices include: decontaminating work surfaces after completing the work with the infectious materials, keeping non-research animals and plants out of the laboratory, and reporting all spills and accidents.

Laboratory Close Outs/Equipment Disposal

Labs must notify OLS to ensure the laboratory has been properly decontaminated.

Any laboratory equipment for disposal or surplus must be decontaminated. Contact OLS for information.

Security

Access to the laboratory is restricted. The door to the laboratory is kept closed and locked to minimize unnecessary access by casual visitors, vendors, or other persons to the laboratory.

Select Agents/Toxins

The CDC regulates research involving Select Agents/Toxins.  Any researcher that possesses or want to work with select agents/toxins must notify OLS.

Sharps

Extreme precautions should be taken while handling needles and other sharp instruments.  In any situation, do not break or bend needles; use single-use needles and syringes.

Do not recap needles. Needles and syringes, butterfly needles and associated tubing, and similar devices should be discarded intact into a sharps container. Do not fill these containers more than ¾ full.

Safe needles devices should be used when possible.  Safety devices such as needle or scalpel guards or retractable devices should be employed.  Blunt needles or transfer pipettes should be used instead of needles to reduce exposure.

Broken glass should not be handled by hand, but should be disposed of with a broom and dustpan or tongs.  Non-contaminated glass should be disposed of in the cardboard “glass only” containers.

Shipping Biological Material

The shipping of infectious materials is regulated by DOT/IATA.  A certified shipper must complete shipments. Training is provided by OLS.

Material Transfer Agreement forms will also likely be required.

Transporting Biological Material

A leak proof box, preferably equipped with a gasket seal lid, should be used for transport of infectious materials from one location to another.

Useful Web Sites

NIH Guidelines: 
http://www4.od.nih.gov/oba/rac/guidelines/guidelines.html

BMBL: 
https://www.cdc.gov/labs/pdf/SF__19_308133-A_BMBL6_00-BOOK-WEB-final-3.pdf

NIH Office of Biotechnology Activities: 
http://www4.od.nih.gov/oba/

CDC Select Agents Program: 
http://www.cdc.gov/od/sap/index.htm

CDC Permit to Import or Transport Etiologic Agents: 
http://www.cdc.gov/od/ohs/biosfty/imprtper.htm

USDA/APHIS Permit to Import or Transport Livestock Pathogens: 
http://www.aphis.usda.gov/animal_health/permits/

USDA/APHIS Permit to Field Test, Import, or Transport Genetically Modified Organisms: 
http://www.aphis.usda.gov/brs/regulatory_activities.html

Selection, Installation, and Use of Biological Safety Cabinets: 
http://www.cdc.gov/od/ohs/biosfty/bsc/bsc.htm

Safety Data Sheet (SDS):

http://chemicalsafety.com/sds/ or https://www.msdsonline.com/msds-search/

Place a bookmark on your computer so that you can access this information quickly.

For biological agents: http://www.phac-aspc.gc.ca/lab-bio/res/psds-ftss/index-eng.php or https://my.absa.org/tiki-index.php?page=Riskgroups

Appendix A

Biohazardous Summary Statement:  Provide a description of materials used in the laboratory in Appendix A.  Include symptoms/hazards/precautions for working with these materials.

Attach Biosafety MSDS if available:

http://www.phac-aspc.gc.ca/msds-ftss/index.html

Appendix B

Potentially Hazardous Equipment: Provide a description of potentially hazardous equipment used in the laboratory in Appendix B.  Examples include sonicators, grinders, blenders, lyophilizers, centrifuges, Bunsen burners, etc…

Appendix C

Special Practices: Provide a description of potentially hazardous procedures conducted in the laboratory in Appendix C.  Examples include culture extraction, centrifugation, overtaxing, use of sharps, etc…

Appendix D

Print out and include any fact sheets or additional guidance that are applicable to your laboratory here.