GW Checklist for Restarting Research Activities

This general checklist is intended to aid you and your research team as you plan to restart laboratory operations. In addition it will also help to minimize potential disruptions and to ensure safety for all working in a research facility.

| Review any ongoing experiments that were running during the hibernation that could have been affected by loss of electricity, water, or other services |  |
| --- | --- |
| Ensure chemical fume hoods are functioning properly. If the fume hoods are on a schedule, confirm that everyone in the lab understands the schedule |  |
| Ensure biological safety cabinets are functioning properly. If the biosafety cabinets are on schedule, confirm everyone in the lab understands the schedule |  |
| Ensure that all refrigerators, freezers, and incubators are functioning properly. |  |
| Ensure any essential equipment that was on emergency power is functioning properly. |  |
| Ensure any sensitive electrical equipment that was shut off and unplugged is functioning properly. |  |
| Review equipment operation safety. Review equipment manuals for safe startup instructions. Review equipment state and safety release any stored-up energy sources. Consider what equipment needs to be recalibrated or recertified |  |
| Ensure any unplugged non-essential electrical devices particularly heat-generating equipment such as hot plates, stir plates, vacuum pumps, or ovens are functioning properly. |  |
| Confirm all chemicals and glassware on the benchtops or stored in cabinets are still secured. |  |
| Confirm dewars and cryogen containers that were used for sample storage and critical equipment are still filled. |  |
| Confirm that storage of perishable items that used alternate cooling methods (e.g. liquid nitrogen, dry ice, etc.), vulnerable items that were put in storage units that have power backup systems, or items that were stored in duplicate locations are still secured and safe. |  |
| Check containers of chemicals, biohazardous, radioactive materials, and hazardous waste are still properly labeled, closed, and secured in appropriate storage areas. |  |
| Check infectious material and toxins that were put away for storage are still secure. |  |
| Check all gas cylinders to ensure that they are still secured and valves closed. Ensure regulators are still not attached and caps are still in place on cylinders. Ensure natural gas lines in the laboratory are still closed. |  |
| Ensure that all water sources (e.g. circulating water baths, aspirators, etc.) are not leaking. |  |
| Return any elevated equipment, supplies, electrical wires, or chemicals that were off the floor to protect against flooding from broken pipes. |  |
| Contact the Office of Animal Research (OAR) to ensure animals used in your research have been cared for and are safe. |  |
| If necessary, restore any backed up secure data and turn on non-essential/non-critical computers and equipment. |  |
| Review safety procedures. Review/update any internal laboratory hazard analysis Review/update the Chemical Hygiene Plan, Radiation Safety Manual, Biosafety Manual, and any other Standard Operating Procedures. |  |
| Survey the laboratory for any unsafe conditions such as: Chemical leaks, spills, or releases Biological leaks, spills, or releases Supplies, equipment, glassware, and other items left out during the hibernation Mange any expired, outdated, peroxide-forming, self-reactive, or other reagents with a limited lifespan appropriately Secure, correctly label, and/or request a pickup of hazardous wastes Manage any biological wastes appropriately |  |
| Research personnel Establish staggered schedules (AM vs PM, every other day, every other desk, etc.) Establish social distancing, wearing of face masks, cleaning, and disinfecting policy and procedures in shared cubicle spaces, labs, and field locations Slow start approach: Assign minimal staff to make media, set up cultures, etc. before beginning full research |  |
| Check shared research & core facilities for any use restrictions. Delays due to start-up procedures Check for restricted schedules to accommodate social distancing |  |
| Prepare for supply chain disruptions and limited availability Recognize that order placement may be slower as the volume of requests increases Plan for limited sales of high demand items Plan for limited PPE availability (including N95s, face shields, and gloves) Plan for some reagents having limited availability Plan for some consumables having limited availability Determine what reagents need to be made or reordered |  |
| Experiments Decide what the first planned experiments will be Consider the required duration of the research Will animals be needed? Can a staggered start be implemented while media is made, cell lines are started, etc.? Can the research be easily halted if required? Can the research be performed with limited staff or rotating teams? |  |

# Text boxes

Office of Laboratory Safety

2300 I Street, NW

Ross Hall, Suite B-05

Washington, DC 20037

t. 202-994-8258 I labsafety@gwu.edu